## Sheet1
Linelist | Sample_ID | Submitted_ID | Location | Region | Date_sampled | Date_received | Report_due | Date_reported | Tests_performed | LIMS_ID | Collection_start | Collection_end | Sample_type | Collection_method | Metadata_check | Reported_by | Arrival_temp | Sample_condition | Location_Full | Location_Type | Region_Full | Source_Type | S_Vol_WW | S_Plate_ID | S_qPCR_date | S_N1_1 | S_N1_2 | S_N2_1 | S_N2_2 | S_MHV_1 | S_MHV_2 | S_PMMV_1 | S_PMMV_2 | S_PMMV1/10_1 | S_PMMV1/10_2 | S_notes | S_N1_1 cp/mL | S_N1_2 cp/mL | Avg_S_N1 cp/mL | S_N2_1 cp/mL | S_N2_2 cp/mL | Avg_S_N2 cp/mL | S_MHV_1 cp/mL | S_MHV_2 cp/mL | Avg_S_MHV cp/mL | S_PMMV_1 cp/mL | S_PMMV_2 cp/mL | Avg_S_PMMV cp/mL | C_Vol_WW | C_Plate_ID | C_qPCR_date | C_N1_1 | C_N1_2 | C_N2_1 | C_N2_2 | C_MHV_1 | C_MHV_2 | C_PMMV_1 | C_PMMV_2 | C_PMMV1/10_1 | C_PMMV1/10_2 | Conc_notes | C_N1_1 cp/mL | C_N1_2 cp/mL | C_Avg_N1 cp/mL | C_N2_1 cp/mL | C_N2_2 cp/mL | C_Avg_N2 cp/mL | C_MHV_1 cp/mL | C_MHV_2 cp/mL | C_Avg_MHV cp/mL | C_PMMV_1 cp/mL | C_PMMV_2 cp/mL | C_Avg_PMMV cp/mL | N1_Curve_ID | N2_Curve_ID | MHV_Curve_ID | PMMV_Curve_ID | R_S_Vol_WW | R_S_Plate_ID | R_S_qPCR_date | R_S_N1_1 | R_S_N1_2 | R_S_N2_1 | R_S_N2_2 | R_S_MHV_1 | R_S_MHV_2 | R_S_PMMV_1 | R_S_PMMV_2 | R_S_PMMV1/10_1 | R_S_PMMV1/10_2 | R_S_Measurement_Notes | R_C_Vol_WW | R_C_Plate_ID | R_C_qPCR_C_date | R_C_N1_1 | R_C_N1_2 | R_C_N2_1 | R_C_N2_2 | R_C_MHV_1 | R_C_MHV_2 | R_C_PMMV_1 | R_C_PMMV_2 | R_C_PMMV1/10_1 | R_C_PMMV1/10_2 | R_C_Measurement_notes | InstrumentS | InstrumentC | C_N1_1_cp | C_N1_2_cp | C_N1_alleles | S_N1_1_cp | S_N1_2_cp | S_N1_alleles | C_N2_1_cp | C_N2_2_cp | C_N2_alleles | S_N2_1_cp | S_N2_2_cp | S_N2_alleles | C_PMMV_1_cp | C_PMMV_2_cp | S_PMMV_1_cp | S_PMMV_2_cp | C_MHV_1_cp | C_MHV_2_cp | S_MHV_1_cp | S_MHV_2_cp | C_N1_avg | C_N2_avg | C_N1N2_avg | C_PMMV_avg | C_MHV_avg | S_N1_avg | S_N2_avg | S_N1N2_avg | S_PMMV_avg | S_MHV_avg | C_N1_PMMV | S_N1_PMMV | C_N2_PMMV | S_N2_PMMV | C_N1N2_PMMV | S_N1N2_PMMV | C_N1_MHV | S_N1_MHV | C_N2_MHV | S_N2_MHV | C_N1N2_MHV | S_N1N2_MHV
1 | WW21-S001 | SP-WW-1 | SP | SR1 | 2021-09-09 | 2021-09-13 | 2021-09-16 | 2021-09-16 | Conc |  | 2021-09-08 10:20 | 2021-09-09 14:15 |  |  | Y |  | 0 | Received frozen | Sample Location 1 | Hospital | Sample Region 1 | Wastewater treatment plant | [26 empty] | 15 | Sample 21.M.1 | 2021-09-14 | 0 | 0 | 0 | 0 | 25.35 | 25.6 | 28.21 | 27.79 | 30.94 | 31.72 |  | ND | ND | ND | ND | ND | ND | 26569.9317 | 22471.227 | 24520.5793 | 30448.0111 | 41607.79 | 36027.9005 | 1 | 2 | 4 | 3 | [30 empty] | ND | ND | 0 |  |  |  | ND | ND | 0 |  |  |  | 30448.0111 | 41607.79 |  |  | 26569.9317 | 22471.227 |  |  | 1 | 1 | 1 | 36027.9005 | 24520.5793 | [5 empty] | 2.7756e-05 |  | 2.7756e-05 |  | 2.7756e-05 |  | 4.0782e-05 |  | 4.0782e-05 |  | 4.0782e-05
2 | WW21-S002 | OL-WW-1 | OL | SR2 | 2021-09-09 | 2021-09-13 | 2021-09-16 | 2021-09-16 | Solids | [5 empty] | Y |  | 21.8 | Arrived at room temperature | Sample Location 2 | Wastewater Treatment Plant | Sample Region 2 | Wastewater treatment plant | 30 | Sample 21.M.1 | 2021-09-14 | 0 | 0 | 0 | 36.56 | 28.8523 | 28.8791 | 22.3592 | 22.3978 | 25.1935 | 25.0969 |  | ND | ND | ND | ND | UQ | UQ | 974.55 | 956.89 | 965.72 | 8485.52 | 8262.66 | 8374.09 | [26 empty] | 1 | 2 | 4 | 3 | [33 empty] | ND | ND | 0 |  |  |  | ND | UQ | 1 |  |  | 8485.52 | 8262.66 |  |  | 974.55 | 956.89 | [5 empty] | 1 | 3 | 3 | 8374.09 | 965.72 |  | 0.00011942 |  | 0.00035825 |  | 0.00035825 |  | 0.0010355 |  | 0.0031065 |  | 0.0031065
3 | WW21-S003 | JS-WW-1 | JS | SR3 | 2021-09-09 | 2021-09-13 | 2021-09-16 | 2021-09-16 | Conc/Solids | [5 empty] | Y |  | 5.8 |  | Sample Location 3 | Wastewater Treatment Plant | Sample Region 3 | Wastewater treatment plant | 30 | Sample 21.M.1 | 2021-09-14 | 30.6 | 31.3 | 31.28 | 31.27 | 28.4221 | 28.1561 | 21.1227 | 21.2513 | 23.9603 | 23.7984 |  | 149.14 | 97.86 | 123.5 | 73.75 | 74.28 | 74.01 | 1307.21 | 1567.5 | 1437.35 | 19914.29 | 18222.63 | 19068.46 | 15 | Sample 21.M.1 | 2021-09-14 | 32.44 | 32.36 | 31.9 | 31.44 | 26.91 | 27.13 | 27.66 | 27.46 | 29.65 | 29.35 |  | 123.11 | 129.21 | 126.16 | 123.36 | 166.7 | 145.03 | 9188.88 | 7883.63 | 8536.26 | 45540.5077 | 52608.7319 | 49074.6198 | 1 | 2 | 4 | 3 | [30 empty] | 123.11 | 129.21 | 2 | 149.14 | 97.86 | 2 | 123.36 | 166.7 | 2 | 73.75 | 74.28 | 2 | 45540.5077 | 52608.7319 | 19914.29 | 18222.63 | 9188.88 | 7883.63 | 1307.21 | 1567.5 | 126.16 | 145.03 | 135.5939 | 49074.6198 | 8536.26 | 123.5 | 74.01 | 98.76 | 19068.46 | 1437.35 | 0.0025708 | 0.0064767 | 0.0029553 | 0.0038813 | 0.002763 | 0.0051792 | 0.014779 | 0.085922 | 0.01699 | 0.051491 | 0.015884 | 0.06871
4 | WW21-S004 | SP-WW-2 | SP | SR1 | 2021-09-15 | 2021-09-19 | 2021-09-22 | 2021-09-22 | Conc |  | 2021-09-15 10:20 | 2021-09-15 14:15 |  |  | Y |  | 11.2 |  | Sample Location 1 | Hospital | Sample Region 1 | Wastewater treatment plant | [26 empty] | 15 | Sample 21.T.1 | 2021-09-20 | 0 | 0 | 36.8201 | 0 | 30.4744 | 30.0567 | 20.7267 | 20.5892 | 22.614889144897461 | 22.619895935058594 |  | ND | ND | ND | UQ | ND | UQ | 805.0782 | 1070.6998 | 937.889 | 65424.6211 | 71934.9066 | 68679.7639 | 1 | 2 | 4 | 3 | [30 empty] | ND | ND | 0 |  |  |  | UQ | ND | 1 |  |  |  | 65424.6211 | 71934.9066 |  |  | 805.0782 | 1070.6998 |  |  | 1 | 3 | 3 | 68679.7639 | 937.889 | [5 empty] | 1.456e-05 |  | 4.3681e-05 |  | 4.3681e-05 |  | 0.0010662 |  | 0.0031987 |  | 0.0031987
5 | WW21-S005 | OL-WW-2 | OL | SR2 | 2021-09-15 | 2021-09-19 | 2021-09-22 | 2021-09-22 | Solids | [5 empty] | Y |  | 7.1 |  | Sample Location 2 | Wastewater Treatment Plant | Sample Region 2 | Wastewater treatment plant | 30 | Sample 21.T.1 | 2021-09-20 | 0 | 0 | 0 | 0 | 27.0545 | 27.0817 | 19.6017 | 19.7406 | 23.8427 | 23.4856 |  | ND | ND | ND | ND | ND | ND | 3325.2377472128019 | 3263.9807638056477 | 3294.6092555092246 | 56866.8899 | 51669.7576 | 54268.3237 | [26 empty] | 1 | 2 | 4 | 3 | [33 empty] | ND | ND | 0 |  |  |  | ND | ND | 0 |  |  | 56866.8899 | 51669.7576 |  |  | 3325.2377472128019 | 3263.9807638056477 | [5 empty] | 1 | 1 | 1 | 54268.3237 | 3294.6092555092246 |  | 1.8427e-05 |  | 1.8427e-05 |  | 1.8427e-05 |  | 0.00030353 |  | 0.00030353 |  | 0.00030353
6 | WW21-S006 | JS-WW-2 | JS | SR3 | 2021-09-15 | 2021-09-19 | 2021-09-22 | 2021-09-22 | Conc/Solids | [5 empty] | Y |  | 4.3 |  | Sample Location 3 | Wastewater Treatment Plant | Sample Region 3 | Wastewater treatment plant | 30 | Sample 21.T.1 | 2021-09-20 | 30.8395 | 30.5591 | 30.7965 | 30.7093 | 27.8416 | 28.088 | 19.1966 | 19.5088 | 22.5475 | 22.5475 |  | 27.550459833654553 | 33.388283116869999 | 30.469371475262278 | 43.486266540568053 | 46.105965133619513 | 44.79611583709378 | 1942.8866418595019 | 1642.0713399849024 | 1792.4789909222022 | 75202.3445 | 60630.0324 | 67916.1885 | 15 | Sample 21.T.1 | 2021-09-20 | 32.5779 | 32.8979 | 33.4052 | 33.5048 | 31.8095 | 31.9826 | 20.3844 | 20.4757 | 22.460039138793945 | 22.72599983215332 |  | 20.925869567699166 | 16.8052705877333 | 18.865570077716235 | 18.86762013816222 | 17.64754406564111 | 18.257582101901665 | 323.599 | 287.5338 | 305.5664 | 82849.3463 | 77794.5816 | 80321.964 | 1 | 2 | 4 | 3 | [30 empty] | 20.925869567699166 | 16.8052705877333 | 2 | 27.550459833654553 | 33.388283116869999 | 2 | 18.86762013816222 | 17.64754406564111 | 2 | 43.486266540568053 | 46.105965133619513 | 2 | 82849.3463 | 77794.5816 | 75202.3445 | 60630.0324 | 323.599 | 287.5338 | 1942.8866418595019 | 1642.0713399849024 | 18.865570077716235 | 18.257582101901665 | 18.565 | 80321.964 | 305.5664 | 30.469371475262278 | 44.79611583709378 | 37.63 | 67916.1885 | 1792.4789909222022 | 0.00023487 | 0.00044863 | 0.0002273 | 0.00065958 | 0.00023113 | 0.00055407 | 0.06174 | 0.016998 | 0.05975 | 0.024991 | 0.060756 | 0.020993
7 | WW21-S007 | SP-WW-3 | SP | SR1 | 2021-09-19 | 2021-09-23 | 2021-09-26 | 2021-09-26 | Conc |  | 2021-09-19 10:20 | 2021-09-19 14:15 |  |  | Y |  | 8 |  | Sample Location 1 | Hospital | Sample Region 1 | Wastewater treatment plant | [26 empty] | 15 | Sample 22.W.1 | 2021-09-24 | 0 | 0 | 0 | 0 | 30.5239 | 30.8318 | 22.8046 | 22.8338 | 24.774129867553711 | 24.933376312255859 |  | ND | ND | ND | ND | ND | ND | 778.3259 | 630.7476 | 704.5368 | 15602.8542 | 15290.9355 | 15446.8948 | 1 | 2 | 4 | 3 | [30 empty] | ND | ND | 0 |  |  |  | ND | ND | 0 |  |  |  | 15602.8542 | 15290.9355 |  |  | 778.3259 | 630.7476 |  |  | 1 | 1 | 1 | 15446.8948 | 704.5368 | [5 empty] | 6.4738e-05 |  | 6.4738e-05 |  | 6.4738e-05 |  | 0.0014194 |  | 0.0014194 |  | 0.0014194
8 | WW21-S008 | OL-WW-3 | OL | SR2 | 2021-09-19 | 2021-09-23 | 2021-09-26 | 2021-09-26 | Solids | [5 empty] | Y |  | 3.7 |  | Sample Location 2 | Wastewater Treatment Plant | Sample Region 2 | Wastewater treatment plant | 30 | Sample 22.W.1 | 2021-09-24 | 0 | 0 | 0 | 0 | 30.2501 | 30.4121 | 21.5807 | 21.8381 | 25.1246 | 24.9635 |  | ND | ND | ND | ND | ND | ND | 375.31811644656983 | 336.00594480990276 | 355.66203062823627 | 14518.5697 | 12156.3625 | 13337.4661 | [26 empty] | 1 | 2 | 4 | 3 | [33 empty] | ND | ND | 0 |  |  |  | ND | ND | 0 |  |  | 14518.5697 | 12156.3625 |  |  | 375.31811644656983 | 336.00594480990276 | [5 empty] | 1 | 1 | 1 | 13337.4661 | 355.66203062823627 |  | 7.4977e-05 |  | 7.4977e-05 |  | 7.4977e-05 |  | 0.0028117 |  | 0.0028117 |  | 0.0028117
9 | WW21-S009 | JS-WW-3 | JS | SR3 | 2021-09-19 | 2021-09-23 | 2021-09-26 | 2021-09-26 | Conc/Solids | [5 empty] | Y |  | -1.1 | Received frozen | Sample Location 3 | Wastewater Treatment Plant | Sample Region 3 | Wastewater treatment plant | 30 | Sample 22.W.1 | 2021-09-24 | 30.9579 | 30.2958 | 30.8486 | 31.3736 | 28.3297 | 28.2424 | 21.1489 | 20.7644 | 23.5108 | 23.9941 |  | 25.402961007762574 | 39.99037369289217 | 32.696667350327374 | 41.989382595011577 | 29.519006108890228 | 35.7541943519509 | 1392.3070489782074 | 1477.7841473677031 | 1435.0455981729551 | 19557.2852 | 25498.0259 | 22527.6556 | 15 | Sample 22.W.1 | 2021-09-24 | 32.2326 | 32.0463 | 32.0476 | 32.3402 | 29.0403 | 29.0611 | 18.5738 | 18.7304 | 21.374814987182617 | 21.271032333374023 |  | 26.513628660891637 | 30.124092859302298 | 28.318860760096968 | 46.936939100268766 | 38.56866384140239 | 42.752801470835578 | 2142.9855 | 2112.6647 | 2127.8251 | 288894.3869 | 259324.6983 | 274109.5426 | 1 | 2 | 4 | 3 | [30 empty] | 26.513628660891637 | 30.124092859302298 | 2 | 25.402961007762574 | 39.99037369289217 | 2 | 46.936939100268766 | 38.56866384140239 | 2 | 41.989382595011577 | 29.519006108890228 | 2 | 288894.3869 | 259324.6983 | 19557.2852 | 25498.0259 | 2142.9855 | 2112.6647 | 1392.3070489782074 | 1477.7841473677031 | 28.318860760096968 | 42.752801470835578 | 35.535 | 274109.5426 | 2127.8251 | 32.696667350327374 | 35.7541943519509 | 34.225 | 22527.6556 | 1435.0455981729551 | 0.00010331 | 0.0014514 | 0.00015597 | 0.0015871 | 0.00012964 | 0.0015192 | 0.013309 | 0.022784 | 0.020092 | 0.024915 | 0.0167 | 0.023849
10 | WW21-S010 | SP-WW-4 | SP | SR1 | 2021-09-22 | 2021-09-23 | 2021-09-26 | 2021-09-26 | Conc |  | 2021-09-21 10:20 | 2021-09-22 14:15 |  |  | Y |  | 3.6 |  | Sample Location 1 | Hospital | Sample Region 1 | Wastewater treatment plant | [26 empty] | 15 | Sample 22.R.1 | 2021-09-24 | 36.058 | 0 | 0 | 0 | 31.601 | 31.4464 | 20.4745 | 20.628 | 22.720117568969727 | 22.757207870483398 |  | UQ | ND | UQ | ND | ND | ND | 373.0874 | 414.6245 | 393.856 | 77858.7894 | 70032.5405 | 73945.665 | 1 | 2 | 4 | 3 | [30 empty] | UQ | ND | 1 |  |  |  | ND | ND | 0 |  |  |  | 77858.7894 | 70032.5405 |  |  | 373.0874 | 414.6245 |  |  | 3 | 1 | 3 | 73945.665 | 393.856 | [5 empty] | 4.057e-05 |  | 1.3523e-05 |  | 4.057e-05 |  | 0.007617 |  | 0.002539 |  | 0.007617
11 | WW21-S011 | OL-WW-4 | OL | SR2 | 2021-09-22 | 2021-09-23 | 2021-09-26 | 2021-09-26 | Solids | [5 empty] | Y |  | 10.4 |  | Sample Location 2 | Wastewater Treatment Plant | Sample Region 2 | Wastewater treatment plant | 30 | Sample 22.R.1 | 2021-09-24 | 0 | 0 | 0 | 0 | 28.0042 | 28.021 | 21.5751 | 21.6994 | 24.3455 | 24.2728 |  | ND | ND | ND | ND | ND | ND | 1738.8314348975168 | 1718.9405880453126 | 1728.8860114714148 | 14575.5911 | 13377.615 | 13976.603 | [26 empty] | 1 | 2 | 4 | 3 | [33 empty] | ND | ND | 0 |  |  |  | ND | ND | 0 |  |  | 14575.5911 | 13377.615 |  |  | 1738.8314348975168 | 1718.9405880453126 | [5 empty] | 1 | 1 | 1 | 13976.603 | 1728.8860114714148 |  | 7.1548e-05 |  | 7.1548e-05 |  | 7.1548e-05 |  | 0.00057841 |  | 0.00057841 |  | 0.00057841
12 | WW21-S012 | JS-WW-4 | JS | SR3 | 2021-09-22 | 2021-09-23 | 2021-09-26 | 2021-09-26 | Conc/Solids | [5 empty] | Y |  | 7.3 |  | Sample Location 3 | Wastewater Treatment Plant | Sample Region 3 | Wastewater treatment plant | 30 | Sample 22.R.1 | 2021-09-24 | 31.2196 | 31.0822 | 31.1857 | 30.9983 | 27.5902 | 27.5564 | 20.8723 | 21.1194 | 23.6883 | 23.4609 |  | 21.23224075756891 | 23.329601630295322 | 22.280921193932116 | 33.486123899196166 | 37.97559431900563 | 35.730859109100898 | 2306.7458056099231 | 2360.5230229507665 | 2333.6344142803446 | 23668.5583 | 19958.8327 | 21813.6955 | 15 | Sample 22.R.1 | 2021-09-24 | 32.7544 | 32.5411 | 33.9917 | 0 | 27.1796 | 27.1577 | 24.4228 | 24.2762 | 25.956687927246094 | 26.04362678527832 |  | 18.541899568078875 | 21.461096332255181 | 20.001497950167028 | 12.727303099625793 | ND | 12.727303099625793 | 7632.274 | 7747.3681 | 7689.8211 | 477089.9704 | 530679.9745 | 503884.9725 | 1 | 2 | 4 | 3 | [30 empty] | 18.541899568078875 | 21.461096332255181 | 2 | 21.23224075756891 | 23.329601630295322 | 2 | 12.727303099625793 | ND | 1 | 33.486123899196166 | 37.97559431900563 | 2 | 477089.9704 | 530679.9745 | 23668.5583 | 19958.8327 | 7632.274 | 7747.3681 | 2306.7458056099231 | 2360.5230229507665 | 20.001497950167028 | 12.727303099625793 | 16.365 | 503884.9725 | 7689.8211 | 22.280921193932116 | 35.730859109100898 | 29.005 | 21813.6955 | 2333.6344142803446 | 3.9695e-05 | 0.0010214 | 2.5258e-05 | 0.001638 | 3.2478e-05 | 0.0013297 | 0.002601 | 0.0095477 | 0.0016551 | 0.015311 | 0.0021281 | 0.012429